Roles for daily use and maintenance of El component/MeterRing, Dynamat and Optima

Dougie

- Overall control of the El component/MeterRing systems.

- Reboot El Component on virtual servers (both test and live) when there has been a system update (windows patch) on the Thursday after the second Tuesday of the calendar month.

- Oversee any systems upgrade (change control request), fault if other team members are unavailable.

Bill

- Addition and decommissioning of meters in El component/MeterRing and Dynamat systems.

- Pass meter addition forms to Georgina for upload onto Optima.

- Investigate faults and remove spikes in El component/MeterRing systems Optima (use change control request form where applicable).

Georgina

- Load new El component/MeterRing meters onto the ADC and Optima.

- Update golden copy which lists all HH meters.

- Disconnect any old Dynamat or Metering meters in Optima.

- View and use El component/MeterRing/Dynamat for checking meters and reporting.

- Investigate any meter faults within Optima (use change control request form where applicable).

- Report meter problems to controls team.

- Investigate exceptions in Dynamat and delete listed exceptions when problems resolved (once a week).

Energy Manager & Shona & Kerry-Ann

- View and use El component/MeterRing/Dynamat for checking meters and reporting.

- Report any meter faults to Controls team.