## Sheet1
TRADE | WORK TYPE | REQUEST TYPE | WORK DESCRIPTION
Electrical | Lighting | No lighting/Faulty light | Replace tube, bulb or starter
Replace/repair switch (wall)
Replace/repair switch (pull)
Replace ballast/choke
Replace fitting
Rewire fitting
Renew Fluorescent Tubes
Change Domestic Type Light Bulbs
Remove / Renew Fluorescent Fitting (All Types)
Remove Pendants and Fittings and Make Good
Clean Fluorescent Tube and diffuser
Minor Repair to Fluorescent Fitting
Replace Choke / Ballast
Replace Choke with Full Rewire
Rewire Light Fitting
Reposition Fitting in Same Room
Repair Fitting Including Dismantle etc
Replace Light Using Cherry Picker
Replace / Repair Photo Cell
Renew Pendant Light Fitting
Repair high level external lighting
No fault found / pass to contractor / pass to another trade
|  | New installation | Fit New Light (Where None Before)
|  | Water coming through light fitting | Check lights, switches and sockets / dry out as necessary and leave safe
| Supply | No power/power off | Reset trip
Test circuit and repair
Test equipment / appliances and repair
No fault found / pass to contractor / pass to another trade
| Sockets, plugs and switches | Socket not working/Broken socket | Replace single socket
Replace single socket and back box
Replace double socket
Replace double socket and back box
Renew Pull Cord Switch
Replace / Renew 13 amp Socket or Switch
Replace / Renew Back Box and Switch / Socket
Fit New Plug
Install Additional Socket Outlet
Reset Circuit Breaker or Renew Fuse
Renew Consumer Unit Complete
Make Safe Exposed Wires in Accessible Location
Renew RCD
Fit New Bell Push Switch
Chase Plaster Wall for Cable
Run Cable Including Clipping
No fault found / pass to contractor / pass to another trade
| Heating | No heating | Repair heater
Service Warm Air Central Heating Unit
Replace Fan Heater
Repair Storage Heater / Wall Heater
Install new storage heater
Adjust Clock Times
Check, Adjust, Repair or Replace Central Heating Timer
Adjust, Repair or Replace Room Thermostat
|  | No hot water | Repair water heater
Replace water heater
Replace immersion heater
Adjust or Renew Immersion Heater Thermostat
No fault found / pass to contractor / pass to another trade
| Showers | Shower not working | Service/repair shower controls
Install new shower
|  | Too hot/cold | Fit new thermostat
|  | Shower control broken | Strip and repair shower control
|  | New installation | Install Electric Shower
No fault found / pass to contractor / pass to another trade
| Fire alarms | Emergency Lighting fault | Replace Emergency module and battery pack
| and Emergency Lighting | Panel fault | Trace fault on system and repair
Replace head
Replace break-glass
Replace/repair sounder
Attend to Low Battery Alarm Fault
Repair or Replace Smoke Detector
Inspect and Repair Emergency Light
Replace Break Glass
Alarm Reset
Take Down, Inspect and Clean Smoke Heads
Replace Detector Head
Install New Sounder
Testing
| BMS | BMS Fault | Clean Heads
Check Chargers
Check Panel
Check Loop Isolators
Make Up Battery Pack and Refit
Reset Panel
Routine Test / Maintain Battery Charger for Emergency Lights
Clean / Overhaul Battery Charger
No fault found / pass to contractor / pass to another trade
| Appliances | Appliance not working | Renew Dishwasher Valve
Inspect and mark appliance For Disposal
Inspect and Carry out Minor Repair
Repair Small Appliance e.g. desk-lamp, repair plug
Repair Medium Appliance e.g. kettle, iron, toaster
Repair Larger Appliance e.g. Cooker, floor cleaners, vacuum
Make Up 13 amp Extension Lead or Lead Lamp
Check Existing Wires, Circuits, Sockets, Switches
PAT Testing
Reset Circuit Breakers/RCD
Renew Cooker Wiring Harness
Repair or Replace Cooker Thermostat
Replace Cooker Control Unit
Install Cooker
|  | Extractor fan fault | Repair Extractor Fan
Check and Test Extractor Fan
Renew Fan Motor
Renew Extractor Fan / Fit New
Rewire Extractor Fan
|  | Hand dryers | Install Hand dryer (new)
Replace Hand dryer
Install door bell, including wiring
|  | Fume hoods | Trace and repair fault on fume cupboard
No fault found / pass to contractor / pass to another trade
Mechanical | Heating | No heating / Radiator not working/ | Vent Radiators
|  | Room too cold / Room too hot/ | Repair Leaking Pump
Free Seized Pump
Renew HW Circulation Pump
Strip Out Pump
Service/repair pump in situ.
Repair Radiator Valve
Overhaul and repair TRV valves
Fit New TRV
Overhaul Water Pump
Replace Boiler Feed Safety Value
Check & Test Operation of Cold Water Pressurisation Booster Unit
Reset After Trip Out
Adjust temperature e.g. via thermostat, controls etc.
| AHU | Heating/Cooling problems | Isolate & Inspect AHU
Refit Bearings to AHU Extract Fan
Renew Valve Joints
| Calorifiers |  | Assemble and Test HWS Calorifier
Overhaul Safety Valves on HWS Calorifier
Annual service HW calorifier
Check Pressure in HW Calorifier
| Bolier servicing | Boiler service | Annual Gas Boiler Service
|  | Leaking radiator | Repair leaking radiator
Repair radiator using freezer kit
|  | Leaking Valve | Renew Studs
Pack Valve
Renew ½” Valve
|  | AHU Problems | Fit Motor on AHU
Renew Belts on AHU
Fit New Relay in AHU Panel
Check & Adjust Tension on AHU Belts
| Ventilation/cooling | Air conditioning fault | Check air con unit / trace circuit / repair
|  | Extractor fan not working | Install new fan
Renew AHU belts
Renew AHU filters
No fault found / pass to contractor / pass to another trade
| General |  | Meter Readings
Clean and Inspect Plant Rooms
Boiler Plant Checks
Boiler Alarm Systems Test
Strip / Test / Survey Boiler
Water Softener Tests & Sampling
Check / Reset Boilers
Reset Gas Valves & Steam Valves and Check Plant Rooms
Renew Flu
Weekly/monthly generator tests
Weekly Clean Workshop
|  | Clean and Check Vehicles | Maintenance Check
Maintenance Check + Wash
Maintenance Check + Wash and Int. Clean
| Gutters / drainpipes |  | Inspect / unblock gutter / downpipe
No fault found / pass to contractor / pass to another trade
Plumbing | Taps | Dripping tap / Stiff tap | Minor Repair to Tap
Repair Mixer Tap
|  | Tap not working | Renew Tap
Renew Internal Stop Tap
Renew Drain Tap or Similar
Fit New Tap to Unit
Fit New Mixer Taps - with Pipework
Remove and Replace Panelling
Fit new insert
No fault found / pass to contractor / pass to another trade
| Showers |  | Descale shower heads
Clean or Minor Repair to Shower Head
|  | Install | Plumb in Electric Shower
Fit New Shower Door
|  | Shower leaking or not working | Overhaul or major Repair to Shower Unit
Renew Flexi Hose
|  | Wall damage / damp | Remove / refit new shower trap
Renew Shower Tray
Renew Silicone Seal Around Shower Tray
Repair Shower Door
Fit New Shower Holder / Riser Rail
|  | Loss of water power in shower | Isolate and check water supply and check flow rate
No fault found / pass to contractor / pass to another trade
| Wash Basins / Sinks |  | Fit New Chain and Plug
|  | Bottle trap leaking | Renew / Refix Sink or Basin Trap
|  | Sink waste pipe leaking | Rectify Waste Leak or Blockage
|  | Sink blocked | Strip down / rod and clear debris
Renew Waste Assembly
Renew WHB or sink
Renew SS Top to Existing Unit
Renew Existing Sink with Base Unit and SS Top
Resecure Sink or WHB
|  | Sink cracked | Remove Sink / Unit and Cap Off Services
|  | Sink leaking | Seal Around Sink / Hand Basin
No fault found / pass to contractor / pass to another trade
| Access |  | Remove and replace panels for access
| Toilets |  | Resecure wc pan to floor
Renew W.C. Handle and Cone, or Refix Existing
|  | Toilet seat broken | Renew or Refix W.C. Seat
Renew Cistern Ball
Renew or Refix W.C. Flushpipe and cone
|  | Urinal overflowing | Unblock Wall Urinal
Unblock W.C. Pan
Remove and Remake W.C Joint to Soil Stack
|  | Toilet/waste leaking | Renew or Repair W.C. Syphon
Renew or Reposition Overflow Pipe Through Wall
Renew W.C. Pan Including Flush Pipe, Seat and Soil Connection
Renew / Remake / Replace W.C. Cistern
Renew or Repair W.C. Cistern Ball Valve
Renew Multiquick
Secure W.C. Pan to Floor
Renew soil pipe
Renew or Adjust Cistern Hook
Renew Cistern
Renew Cistermiser
|  | Not flushing | Renew flush mechanism
|  | Flush handle come off | Refix handle
|  | Toilet water not emptying | Check cleaning eye and cistern levels
No fault found / pass to contractor / pass to another trade
| Baths |  | Renew Silicone Seal Around Bath
Renew Bath Complete
Remove and Replace Panel
No fault found / pass to contractor / pass to another trade
| Storage Tanks / Pipework |  | General Pipework - New Copper
Remove and Replace “Boxing In”
Renew or Repair Storage Tank Ball Valve
Renew Storage Tank Overflow Pipe
Renew Storage Tank Complete
Renew Cylinder
Rectify Leak on Cylinder
Renew Tank Jacket
Rewasher Ball Valve
Renew Pulsacoil Immersion Heater
Remove Tank & Blank Pipework
Install New Water Supply to Equipment
Rundown System
No fault found / pass to contractor / pass to another trade
| Installation |  | Install Multipoint Balanced Flue Water Heater
Install Gas Fire
Fit New Isolation Valve
Install New Gas Heater
Replace Hydro Boiler
Install New Water Heater
Plumb in Automatic Washing Machine
| Central Heating / Radiators |  | Check and Clean Radiator
Repair or Renew Radiator Valve
|  | No heating | Repair heating pump
Renew Air Valve
Remove Old and Fit New Radiator
|  | Radiator leaking | Rectify Radiator Leak
Renew 3 Way Motorised Valve to Central Heating System
Adjust or Free Central Heating Pump
Renew Central Heating Pump
Re Site Radiator Incl. Pipework
Remove Radiator and Blank Off Pipework
Service Water Heater
Renew Heater Element
No fault found / pass to contractor / pass to another trade
| General | Bad smell to investigate | Trace odour / rectify
Trace odour / no fault
|  | Flood | Trace flood / clean up
Inspect For Gas Leak
Hack Out, Measure, Cut, Fix
No fault found / pass to contractor / pass to another trade
Joinery | Doors | Forced Entry | Force / gain entry / make good
|  | Locks | Renew or Repair Door Lock
Fit or Repair Specialist Lock
Change Digi Code
Fit new lock to metal door
Replace lock to metal door
Fit New Security Deadlock
Repair magnetic locking system
Repair digi lock and fit new batteries
Change Combination on Security Lock
|  | Door slamming/ | Adjust keep
|  | Door not closing / catching on floor | Ease and adjust door
Renew Draught Laths or Sealing Strips
Adjust door closer
Renew door closer
|  | Hardware | Fit new panic bolt
Fit Door Chain
Fit Security Door Viewing Hole
Renew Letterplate
Renew or Repair Lever Handles
Renew or Repair Catch, Bolt, Hasp and Staple, Handles
Renew or Repair Panic Bar
|  | Door Frames | Mastic Door Frame
Splice Door Frame
Renew Garage Door Frame
Fit New Door Frame
Resecure Frame
Replace Architrave
|  | New doors | Hang New Interior Door
Hang New Fire Door (All Pre Assembled Including Furniture)
Hang Garage Door
Renew Batten Door / Large Gate
Hang New Exterior Door
Make up ply/hardboard door
Remove Old and Hand New Door
Fit new cupboard door
Paint 2 Coats
|  | Make door from blank | Make, Cut, Make Opening, Fit Intrumes Strip etc.
|  | Door repairs | Repair Cupboard Door
Reskin Internal Door
Ease and Adjust Door, Including Removal
Major Internal Door Repair
Major External Door Repair
|  | Fittings | Renew Threshold
Renew Weatherboard
| Windows |  | Board up after break-in
Renew UPVC Cill
Renew Frame UP To 1200 x 1200
Renew Frame Over 1200 x 1200
Renew Sash Up To 500 x 500
Renew Sash Over 500 x 500
Fit new plastic cill
|  | Window won't close/open | Ease and Adjust Sash (Without Removal)
Ease and Adjust Sash with Removal
Replace Window Furniture
Renew Pivot Sash
|  | Glass broken | Board Up Window
Glaze - New
Reglaze
Re-Cord Window (4 Cords)
Renew Parting Bead
Renew D.G. Unit
Renew D.G. Gasket
Renew Putty or Beading
Renew Window Board
Fit Security Lock
Mastic
Fit Glazing Film
Draught proof all windows
|  | Lock broken | Fit New Window Lock
Fit New Window Opening Restrictor
|  | Handle broken | Renew Handle
|  | Window sticking / leaking frame | Blocked rainwater pipe / guttering
Renew catch
|  | Tiles loose on window cill | Measure up and fix plastic cill
No fault found / pass to contractor / pass to another trade
| Floors/skirting/stairs etc. |  | Renew Floorboards
Lay Ply or Hardboard Flooring
Renew Joist
Renew Skirting
Renew Stair Nosing
Fit Carpet Edging Strip
Renew Stair Tread
Secure Handrail
|  | Floor tile loose | No fault found / pass to contractor / pass to another trade
| Workshop |  | Make New Fire Door From Blank
Make Weatherboard
Make Door Frame
Make Batten Door and Gate
Make Pivot Sash
Empty Hopper Bag etc.
| Shelving / Notices Boards / Boxing |  | Renew Bath Panel and Frame
Fit New Plastic Bath Panel
Box In Pipes
Make and Fix Shelf
Resecure Existing Shelf
|  | Fit pin board to wall | Make and Fix Notice Board to Wall
| General |  | Fix New Security Kit to Equipment e.g. Computer / Microwave etc.
Assemble and Fix Kitchen Unit
Assemble and Fix Kitchen Wall Unit
Minor Repair to Drawer
|  | Install work top | Install work top
Renew or Refix Soffit Board
Renew or Refix Fascia or Barge Board
Refix or Resecure Cupboard / Unit to Wall
| Fittings and fixtures |  | Refix Towel, Soap, Paper Dispenser
Fit New Towel, Soap, Paper Dispenser
Replace Towel, Soap, Paper Dispenser
Fit New Curtain Rail or Blind
Replace Ceiling Tiles
Hang Picture using hooks/screws
Fit Coat Hook
|  | Repair blinds | Repair Blind
Repair door blind / pulleys etc.
New / Refix Splashback to Sink / Washbasin
|  | Furniture repairs | Secure Loose Headboard
Minor repairs to chairs, desks, tables etc.
Major repairs to larger items e.g. tables, bookcases, wardrobes etc.
Disassemble wooden chair / desk, clean, glue, joint, clamp etc.
Renew/repair wardrobe pole
|  | Showers | Renew shower screen
Install new shower cubicle
Fit New Perspex Panel to Shower
|  | Handrail | Fit handrail to staircase
|  | Gate repair | Fit bolts to gate
No fault found / pass to contractor / pass to another trade
General Maintenance |  | Re-hang curtains | Hang curtains
|  | Fire Appliances | Service Fire Equipment
Supply and Fix Extinguisher
Recharge Fire Extinguisher
|  | Painting | Door Frames: Prime or undercoat
Gloss
Doors: Prime or undercoat
Gloss
Walls: Emulsion
|  | Plastering | Plaster patching
Planned Maintenance |  |  | Clear flat roof area / clean and check gulleys & outlets
Reset gas valves after weekly fire alarm test
Carry out blow down procedures to steam boiler
|  | Legionella testing of showers | Run showers & test for legionella
|  | Legionella testing of taps | Run taps and record temperatures
Inspect and test generators
Routine inspection of plant rooms
Take meter readings
All Trades | Non-productive |  | Travel to / from / between sites
Travel to / from suppliers
Transport staff or materials to / from jobs
Walk to / from / between jobs
Stores duties
Access
Waiting time
Administration
No fault found / pass to contractor / pass to another trade
Job already completed