## Electrical
CUSTOMER COMPLETED DROP DOWN FAULT TYPES
Tier 1 | Tier 2
Fault Type | Problem Type | Response Time | Completed Work | Standard Completion Time
Electrical | Lighting | All Types - default to 14 day | Replace tube, bulb or starter
Replace/repair switch (wall)
Replace/repair switch (pull)
Replace ballast/choke
Replace fitting
Rewire fitting
Renew Fluorescent Tubes
Change Domestic Type Light Bulbs
Remove / Renew Fluorescent Fitting (All Types)
Remove Pendants and Fittings and Make Good
Clean Fluorescent Tube and diffuser
Minor Repair to Fluorescent Fitting
Replace Choke / Ballast
Replace Choke with Full Rewire
Rewire Light Fitting
Reposition Fitting in Same Room
Repair Fitting Including Dismantle etc
Replace Light Using Cherry Picker
Replace / Repair Photo Cell
Renew Pendant Light Fitting
Repair high level external lighting
Check lights, switches and sockets / dry out as necessary and leave safe
Pass to Premises Team
No fault found
Electrical | No Power | All Types - default to 14 day | Reset trip
Test circuit and repair
Test equipment / appliances and repair
Pass to Premises Team
No fault found
Electrical | Sockets/Plugs/Switches | All Types - default 14 days | Replace single socket
Replace single socket and back box
Replace double socket
Replace double socket and back box
Renew Pull Cord Switch
Replace / Renew 13 amp Socket or Switch
Replace / Renew Back Box and Switch / Socket
Fit New Plug
Install Additional Socket Outlet
Reset Circuit Breaker or Renew Fuse
Renew Consumer Unit Complete
Make Safe Exposed Wires in Accessible Location
Renew RCD
Fit New Bell Push Switch
Chase Plaster Wall for Cable
Run Cable Including Clipping
Pass to Premises Team
No fault found
Electrical | Smell of Burning | Emergency or Same day | Isolate Supply and Check Components
Electrical | Wiring/Cables/Containment | All Types - default 14 days | Clipping/missing or damaged containment
Strip out
Check Existing Wires, Circuits, Sockets, Switches
Pass to Premises Team
No fault found
Electrical | Heating | All Types - default 14 days | Repair heater
Service Warm Air Central Heating Unit
Replace Fan Heater
Repair Storage Heater / Wall Heater
Install new storage heater
Adjust Clock Times
Check, Adjust, Repair or Replace Central Heating Timer
Adjust, Repair or Replace Room Thermostat
Pass to Premises Team
No fault found
Electrical | No Hot Water | All Types - default 14 days | Repair water heater
Replace water heater
Replace immersion heater
Adjust or Renew Immersion Heater Thermostat
Pass to Premises Team
No fault found
Electrical | Showers | All Types - default 14 days | Service/repair shower controls
Install new shower
Fit new thermostat
Strip and repair shower control
Install Electric Shower
Pass to Premises Team
No fault found
Electrical | Fire Alarm | All Types - default 14 days | Trace fault on system and repair
Alarm Reset
Replace Break Glass
Attend to Low Battery Alarm Fault
Check / Reset Panel
Make Up Battery Pack and Refit
Check Loop Isolators
Clean Heads
Check Chargers
Pass to Premises Team
No fault found
Electrical | Emergency Lighting | All Types - default 14 days | Inspect and Repair Emergency Light
Replace Emergency module and battery pack
Emergency Light Testing
Routine Test / Maintain Battery Charger for Emergency Lights
Clean / Overhaul Battery Charger
Label fittings
Install Key Switch
Pass to Premises Team
No fault found
Electrical | Fault with Electrical Appliance/Equipment | All Types - default 14 days | Renew Dishwasher Valve
Inspect and mark appliance For Disposal
Inspect and Carry out Minor Repair
Repair Small Appliance e.g. desk-lamp, repair plug
Repair Medium Appliance e.g. kettle, iron, toaster
Repair Larger Appliance e.g. Cooker, floor cleaners, water heater
Make Up 13 amp Extension Lead or Lead Lamp
Check Existing Wires, Circuits, Sockets, Switches
PAT Testing
Reset Circuit Breakers/RCD
Renew Cooker Wiring Harness
Repair or Replace Cooker Thermostat
Replace Cooker Control Unit
Install Cooker
Replace Battery
Strip out / Disconnect / Reconnect Appliance
Pass to Premises Team
No fault found
Electrical | Extractor Fan | All Types - default 14 days | Repair Extractor Fan
Check and Test Extractor Fan
Renew Fan Motor
Renew Extractor Fan / Fit New
Rewire Extractor Fan
Pass to Premises Team
No fault found
Electrical | Hand Dryers | All Types - default 14 days | Install Hand dryer (new)
Replace Hand dryer
Electrical | Fume Hoods | All Types - default 14 days | Trace and repair fault on fume cupboard
Pass to Premises Team
No fault found
Electrical | Persons Trapped in Lift | Emergency | Attend and free persons
Electrical | Lift Isolation | All Types - default 14 days | Switch Off and Isolate Lifts / Switch on and Check
Electrical | Water in Electrics | Emergency or Same day | Check lights, switches and sockets / dry out as necessary and leave safe
Pass to Premises Team

## Mechanical
CUSTOMER COMPLETED DROP DOWN FAULT TYPES
Tier 1 | Tier 2
Fault Type | Problem Type | Response Time | Completed Work | Standard Completion Time
Heating Engineer | Heating | All types - Default to 14 day | Vent Radiators
Repair Leaking Pump
Free Seized Pump
Renew HW Circulation Pump
Strip Out Pump
Service/repair pump in situ.
Repair Radiator Valve
Overhaul and repair TRV valves
Fit New TRV
Overhaul Water Pump
Replace Boiler Feed Safety Value
Check & Test Operation of Cold Water Pressurisation Booster Unit
Reset After Trip Out
Adjust temperature e.g. via thermostat, controls etc.
Heating Engineer | Air Handeling Units | All types - Default to 14 day | Isolate & Inspect AHU
Fit Motor on AHU
Renew Belts on AHU
Fit New Relay in AHU Panel
Check & Adjust Tension on AHU Belts
Refit Bearings to AHU Extract Fan
Renew Valve Joints
Heating Engineer | Calorifiers | All types - Default to 14 day | Assemble and Test HWS Calorifier
Overhaul Safety Valves on HWS Calorifier
Annual service HW calorifier
Check Pressure in HW Calorifier
Heating Engineer | Boiler | All types - Default to 14 day | Annual Gas Boiler Service
Boiler Plant Checks
Boiler Alarm Systems Test
Strip / Test / Survey Boiler
Check / Reset Boilers
Renew Flu
Heating Engineer | Radiators | All types - Default to 14 day | Repair leaking radiator
Repair radiator using freezer kit
Check and Clean Radiator
Repair or Renew Radiator Valve
Repair heating pump
Renew Air Valve
Remove Old and Fit New Radiator
Rectify Radiator Leak
Renew 3 Way Motorised Valve to Central Heating System
Adjust or Free Central Heating Pump
Renew Central Heating Pump
Re Site Radiator Incl. Pipework
Remove Radiator and Blank Off Pipework
Service Water Heater
Renew Heater Element
Heating Engineer | Water | All types - Default to 14 day | No Water
Water Too Hot
Water quality Issues
Heating Engineer | Ventilation | All types - Default to 14 day | Check air con unit / trace circuit / repair
Install new fan
Renew AHU belts
Renew AHU filters
Heating Engineer | Meter Readings | 14 day | Meter Readings
Heating Engineer | Heating Times | All types - Default to 14 day | Adjust Heating Times
Heating Engineer | CHP | All types - Default to 14 day | Top Up Water to District Heating
Heating Engineer | Attend Demo | 14 Day | Attend Demo
Heating Engineer | Assist Contractor / Consultant / Other Trade | 14 Day | Assist Contractors / Consultants
Heating Engineer | Clean and Tidy Plant Room / Store | 14 Day | Clean / Tidy / Sweep
Humidifier
Chilled Water Batteries
Provide Access
Steam Systems
Chill beams
Vaccum Control Panel Checks
Renew Studs
Pack Valve
Renew ½” Valve

## Plumbing
CUSTOMER COMPLETED DROP DOWN FAULT TYPES
Tier 1 | Tier 2
Fault Type | Problem Type | Response Time | Completed Work | Standard Completion Time
Plumbing | Taps | All Types - Default to 14 days | Minor Repair to Tap
Repair Mixer Tap
Renew Tap
Renew Internal Stop Tap
Renew Drain Tap or Similar
Fit New Tap to Unit
Fit New Mixer Taps - with Pipework
Remove and Replace Panelling
Fit new insert
No fault found
Plumbing | Showers | All Types - Default to 14 days | Descale shower heads
Clean or Minor Repair to Shower Head
Plumb in Electric Shower
Fit New Shower Door
Overhaul or major Repair to Shower Unit
Renew Flexi Hose
Remove / refit new shower trap
Renew Shower Tray
Renew Silicone Seal Around Shower Tray
Repair Shower Door
Fit New Shower Holder / Riser Rail
Isolate and check water supply and check flow rate
No fault found
Plumbing | Wash Basins / Sinks | All Types - Default to 14 days | Fit New Chain and Plug
Renew / Refix Sink or Basin Trap
Rectify Waste Leak or Blockage
Strip down / rod and clear debris
Renew Waste Assembly
Renew WHB or sink
Renew SS Top to Existing Unit
Renew Existing Sink with Base Unit and SS Top
Resecure Sink or WHB
Remove Sink / Unit and Cap Off Services
Seal Around Sink / Hand Basin
No fault found
Plumbing | Toilets | All Types - Default to 14 days | Resecure wc pan to floor
Renew W.C. Handle and Cone, or Refix Existing
Renew or Refix W.C. Seat
Renew Cistern Ball
Renew or Refix W.C. Flushpipe and cone
Unblock Wall Urinal
Unblock W.C. Pan
Remove and Remake W.C Joint to Soil Stack
Renew or Repair W.C. Syphon
Renew or Reposition Overflow Pipe Through Wall
Renew W.C. Pan Including Flush Pipe, Seat and Soil Connection
Renew / Remake / Replace W.C. Cistern
Renew or Repair W.C. Cistern Ball Valve
Renew Multiquick
Secure W.C. Pan to Floor
Renew soil pipe
Renew or Adjust Cistern Hook
Renew Cistern
Renew Cistermiser
Renew flush mechanism
Refix handle
Check cleaning eye and cistern levels
No fault found
Plumbing | Baths | All Types - Default to 14 days | Renew Silicone Seal Around Bath
Renew Bath Complete
Remove and Replace Panel
No fault found
Plumbing | Storage Tanks | All Types - Default to 14 days | Remove and Replace “Boxing In”
Renew or Repair Storage Tank Ball Valve
Renew Storage Tank Overflow Pipe
Renew Storage Tank Complete
Renew Cylinder
Rectify Leak on Cylinder
Renew Tank Jacket
Rewasher Ball Valve
Renew Pulsacoil Immersion Heater
Remove Tank & Blank Pipework
Install New Water Supply to Equipment
Rundown System
No fault found
Plumbing | New Installation | All Types - Default to 14 days | Install Multipoint Balanced Flue Water Heater
Install Gas Fire
Fit New Isolation Valve
Install New Gas Heater
Replace Hydro Boiler
Install New Water Heater
Plumb in Automatic Washing Machine
Plumbing | Central Heating / Radiators | All Types - Default to 14 days | Check and Clean Radiator
Repair or Renew Radiator Valve
Repair heating pump
Renew Air Valve
Remove Old and Fit New Radiator
Rectify Radiator Leak
Renew 3 Way Motorised Valve to Central Heating System
Adjust or Free Central Heating Pump
Renew Central Heating Pump
Re Site Radiator Incl. Pipework
Remove Radiator and Blank Off Pipework
Service Water Heater
Renew Heater Element
No fault found
Plumbing | Investigate Smell | All Types - Default to 14 days | Trace odour / rectify
Trace odour / no fault
Plumbing | Flood | Emer / Same Day | Trace Flood / Rectify / Clean Up
Trace Flood / No repair / Clean Up
Plumbing | Pipework / Access Panels | All Types - Default to 14 days | Remove and replace panels for access
General Pipework - New Copper

## Joinery
CUSTOMER COMPLETED DROP DOWN FAULT TYPES
Tier 1 | Tier 2
Fault Type | Problem Type | Response Time | Completed Work | Standard Completion Time
Joinery | Doors and Locks | Emer or Same Day | Force / gain entry / make good
|  | All Types - Default to 14 days | Renew or Repair Door Lock
Fit or Repair Specialist Lock
Change Digi Code
Fit new lock to metal door
Replace lock to metal door
Fit New Security Deadlock
Repair magnetic locking system
Repair digi lock and fit new batteries
Change Combination on Security Lock
Adjust keep
Ease and adjust door
Renew Draught Laths or Sealing Strips
Adjust door closer
Renew door closer
Fit new panic bolt
Fit Door Chain
Fit Security Door Viewing Hole
Renew Letterplate
Renew or Repair Lever Handles
Renew or Repair Catch, Bolt, Hasp and Staple, Handles
Renew or Repair Panic Bar
Mastic Door Frame
Splice Door Frame
Renew Garage Door Frame
Fit New Door Frame
Resecure Frame
Replace Architrave
Hang New Interior Door
Hang New Fire Door (All Pre Assembled Including Furniture)
Hang Garage Door
Renew Batten Door / Large Gate
Hang New Exterior Door
Make up ply/hardboard door
Remove Old and Hand New Door
Fit new cupboard door
Make, Cut, Make Opening, Fit Intrumes Strip etc.
Repair Cupboard Door
Reskin Internal Door
Ease and Adjust Door, Including Removal
Major Internal Door Repair
Major External Door Repair
Renew Threshold
Renew Weatherboard
No Fault Found
Joinery | Windows | Emer or Same Day | Board Up Window
|  | All Types - Default to 14 days | Renew UPVC Cill
Renew Frame UP To 1200 x 1200
Renew Frame Over 1200 x 1200
Renew Sash Up To 500 x 500
Renew Sash Over 500 x 500
Fit new plastic cill
Ease and Adjust Sash (Without Removal)
Ease and Adjust Sash with Removal
Replace Window Furniture
Renew Pivot Sash
Glaze - New
Reglaze
Re-Cord Window (4 Cords)
Renew Parting Bead
Renew D.G. Unit
Renew D.G. Gasket
Renew Putty or Beading
Renew Window Board
Fit Security Lock
Mastic
Fit Glazing Film
Draught proof all windows
Fit New Window Lock
Fit New Window Opening Restrictor
Renew Handle
Renew catch
Measure up and fix plastic cill
No Fault Found
Joinery | Floors/Skirting/Stairs | All Types - Default to 14 days | Renew Floorboards
Lay Ply or Hardboard Flooring
Renew Joist
Renew Skirting
Renew Stair Nosing
Fit Carpet Edging Strip
Renew Stair Tread
Secure Handrail
No Fault found
| Shelving and Notice/Pin Boards | All Types - Default to 14 days | Make and Fix Shelf
Resecure Existing Shelf
Fix Notice Board/Pin Board to Wall
No Fault Found
Joinery | Furniture Repairs | All Types - Default to 14 days | Secure Loose Headboard
Minor repairs to chairs, desks, tables etc.
Major repairs to larger items e.g. tables, bookcases, wardrobes etc.
Refix or Resecure Cupboard / Unit to Wall
Minor Repair to Drawer
Disassemble wooden chair / desk, clean, glue, joint, clamp etc.
Renew/repair wardrobe pole
No Fault Found
Joinery | Fixtures and Fittings | All Types - Default to 14 days | Refix Towel, Soap, Paper Dispenser
Fit New Towel, Soap, Paper Dispenser
Replace Towel, Soap, Paper Dispenser
Fit New Curtain Rail or Blind
Replace Ceiling Tiles
Hang Picture using hooks/screws
Install Worktop
Fit Coat Hook
Repair Blind
Repair door blind / pulleys etc.
New / Refix Splashback to Sink / Washbasin
No Fault Found
Joinery | Showers/Baths/Pipe Boxing | All Types - Default to 14 days | Renew shower screen
Install new shower cubicle
Fit New Perspex Panel to Shower
Renew Bath Panel and Frame
Fit New Plastic Bath Panel
Box In Pipes
No Fault Found

## Glazing
CUSTOMER COMPLETED DROP DOWN FAULT TYPES
Tier 1 | Tier 2
Fault Type | Problem Type | Response Time | Completed Work | Standard Completion Time

## Pest Control
Pes