## Sheet1
CUSTOMER COMPLETED DROP DOWN FAULT TYPES
Tier 1 | Tier 2
Fault Type | Problem Type | Response Time | Completed Work | Standard Completion Time
Electrical | Lighting | All Types - default to 14 day | Replace tube, bulb or starter
Replace/repair switch (wall)
Replace/repair switch (pull)
Replace ballast/choke
Replace fitting
Rewire fitting
Renew Fluorescent Tubes
Change Domestic Type Light Bulbs
Remove / Renew Fluorescent Fitting (All Types)
Remove Pendants and Fittings and Make Good
Clean Fluorescent Tube and diffuser
Minor Repair to Fluorescent Fitting
Replace Choke / Ballast
Replace Choke with Full Rewire
Rewire Light Fitting
Reposition Fitting in Same Room
Repair Fitting Including Dismantle etc
Replace Light Using Cherry Picker
Replace / Repair Photo Cell
Renew Pendant Light Fitting
Repair high level external lighting
Check lights, switches and sockets / dry out as necessary and leave safe
Pass to Premises Team
No fault found
Electrical | No Power | All Types - default to 14 day | Reset trip
Test circuit and repair
Test equipment / appliances and repair
Pass to Premises Team
No fault found
Electrical | Sockets/Plugs/Switches | All Types - default 14 days | Replace single socket
Replace single socket and back box
Replace double socket
Replace double socket and back box
Renew Pull Cord Switch
Replace / Renew 13 amp Socket or Switch
Replace / Renew Back Box and Switch / Socket
Fit New Plug
Install Additional Socket Outlet
Reset Circuit Breaker or Renew Fuse
Renew Consumer Unit Complete
Make Safe Exposed Wires in Accessible Location
Renew RCD
Fit New Bell Push Switch
Chase Plaster Wall for Cable
Run Cable Including Clipping
Pass to Premises Team
No fault found
Electrical | Smell of Burning | Emergency or Same day | Isolate Supply and Check Components
Electrical | Wiring/Cables/Containment | All Types - default 14 days | Clipping/missing or damaged containment
Strip out
Check Existing Wires, Circuits, Sockets, Switches
Pass to Premises Team
Pass to Another Trade
No fault found
Electrical | Heating | All Types - default 14 days | Repair heater
Service Warm Air Central Heating Unit
Replace Fan Heater
Repair Storage Heater / Wall Heater
Install new storage heater
Adjust Clock Times
Check, Adjust, Repair or Replace Central Heating Timer
Adjust, Repair or Replace Room Thermostat
Pass to Premises Team
Pass to Another Trade
No fault found
Electrical | No Hot Water | All Types - default 14 days | Repair water heater
Replace water heater
Replace immersion heater
Adjust or Renew Immersion Heater Thermostat
Pass to Premises Team
Pass to Another Trade
No fault found
Electrical | Showers | All Types - default 14 days | Service/repair shower controls
Install new shower
Fit new thermostat
Strip and repair shower control
Install Electric Shower
Pass to Premises Team
Pass to Another Trade
No fault found
Electrical | Fire Alarm | All Types - default 14 days | Trace fault on system and repair
Alarm Reset
Replace Break Glass
Attend to Low Battery Alarm Fault
Check / Reset Panel
Make Up Battery Pack and Refit
Check Loop Isolators
Clean Heads
Check Chargers
Pass to Premises Team
No fault found
Electrical | Emergency Lighting | All Types - default 14 days | Inspect and Repair Emergency Light
Replace Emergency module and battery pack
Emergency Light Testing
Routine Test / Maintain Battery Charger for Emergency Lights
Clean / Overhaul Battery Charger
Label fittings
Install Key Switch
Pass to Premises Team
No fault found
Electrical | Fault with Electrical Appliance/Equipment | All Types - default 14 days | Renew Dishwasher Valve
Inspect and mark appliance For Disposal
Inspect and Carry out Minor Repair
Repair Small Appliance e.g. desk-lamp, repair plug
Repair Medium Appliance e.g. kettle, iron, toaster
Repair Larger Appliance e.g. Cooker, floor cleaners, water heater
Make Up 13 amp Extension Lead or Lead Lamp
Check Existing Wires, Circuits, Sockets, Switches
PAT Testing
Reset Circuit Breakers/RCD
Renew Cooker Wiring Harness
Repair or Replace Cooker Thermostat
Replace Cooker Control Unit
Install Cooker
Replace Battery
Strip out / Disconnect / Reconnect Appliance
Pass to Premises Team
Pass to Another Trade
No fault found
Electrical | Extractor Fan | All Types - default 14 days | Repair Extractor Fan
Check and Test Extractor Fan
Renew Fan Motor
Renew Extractor Fan / Fit New
Rewire Extractor Fan
Pass to Premises Team
Pass to Another Trade
No fault found
Electrical | Hand Dryers | All Types - default 14 days | Install Hand dryer (new)
Replace Hand dryer
Electrical | Fume Hoods | All Types - default 14 days | Trace and repair fault on fume cupboard
Pass to Premises Team
Pass to Another Trade
No fault found
Electrical | Persons Trapped in Lift | Emergency | Attend and free persons
Electrical | Lift Isolation | All Types - default 14 days | Switch Off and Isolate Lifts / Switch on and Check
Electrical | Water in Electrics | Emergency or Same day | Check lights, switches and sockets / dry out as necessary and leave safe
Pass to Premises Team
Pass to Another Trade